Instructions

Quality Guarantee

I really appreciate your use of the company's test equipment. The company produces and sells all equipment are rigorously check sum in line with national standards and manufactured products。The Company's solemn commitment, Where in the purchase of the product under normal use, Within a year if there is a mechanical failure or poor quality parts and other issues, The Company will bear full responsibility. And free for all services. Disassemble the case of damage or failure caused by man-made, According to analysis of the facts of the Company, Will not provide full free service, Charge a fee appropriate parts.

###### Instructions

###### Safetyinstructions

###### Before using this equipment should read the manual, Avoid losses caused due to improper operation.

This equipment should be sent in the course of professional operators to operate，Non-professional operators should maintain a certain distance from the device. Equipment used for power supply AC220V, Ground wire must be grounded, voltage 220V high voltage inside the chassis, Do not open the back door of the chassis. After using the machine every month should be required to conduct a clean, conducted lubricating lubrication place. After one year from the purchase date check again. Because do not follow all the consequences resulting from security operations, the Company shall not be responsible for。

InstructionsTable of Contents

一、Outline.............. 4

- Schematicdiagram.......5

- TechnicalSpecifications...6

- Use   .................7

- Precautions.............9

- MaintenanceandWarranty. 10

- Accessory...............11

- ProductTestRecord.......12

- Factoryinspectionreport...14

- Singleservice.....  ....15

Instructions一Outline

Falling ball impact test machine is used to test the firmness of a plastic, ceramic, acrylic, glass fiber of paint and other materials and test it. This device complies with JIS-K6745, A5430 test standards. The machine test method specified weight range to adjust the ball at a certain height so that the ball free fall against the specimen, depending on the extent of the damage. In order to determine the quality of the test product. To help customers better understand their own products. Continuously improve product quality, the equipment used by the majority of manufacturers manufacturers of praise, is an ideal test equipment.

Instructions

二、Falling ball impact test machine schematic

Setting the height of the guide rod

Control Box

Cages

Electromagnet

Ball

Instructions

三、TechnicalSpecifications

1、Ball drop height: 1 ~ 200㎝

2、Falling Ball Control: DC electromagnetic control

3、Ball Weight:50 g110 g190g 1042 g880g 95g 225g、

4、Power supply: 220V, 60Hz, 2A

5、Drop height adjustable stroke

6、Machine Size: about 450 × 500 × 2000mm

7、Machine weight: about 30 kg

Instructions

四、Use

- The test piece goods put network box, infrared products aligned impact point, block with clip fastening products

- At the height of the guide bar fastening handle set height, loosen the handle, adjust the desired

- power 220V

- Press the power switch, drop test lights

- Press Start test, select the appropriate ball on the solenoid, make pull

- By the drop test, testAfter the test is complete, turn off the power。

Instructions

五、Precautions

1、The device flat on the ground

2、Keep the device dry, clean

3、During the trial, people do not close, so as not injured

4、Test start time not too long

5、After the test is stopped, turn off the power, unplug the power cord

Instructions

六、Maintenance and Warranty

1、This instrument is a precision test equipment, used commercially

Should someone to maintain, do not disassemble in order to avoid making

Adults for damage

2、The machine under normal use conditions, the Company

One-year warranty and lifetime maintenance

This equipment, if insufficient, please your comments

Instructions

七、Accessory

| Project | Name | Unit | Quantity | Remark |
| --- | --- | --- | --- | --- |
| 1 | Instructions | Part | 1 | Has experience |
| 2 | Hexagon | Cover | 1 |  |
| 3 | Ball | Months | 7 |  |

InstructionsProduct Test Record

| Date | Product | Record | Result |
| --- | --- | --- | --- |

InstructionsFactoryinspectionreport

Release date: December 4, 2015

| Product Name | Test items | Test results | Remark |
| --- | --- | --- | --- |
| Falling ball impact test machine | Height | Standards compliant | On December 2, 2015 proposal May re-tested again |
|  | Ball | Standards compliant |  |
|  | Electromagnet | Good |  |
|  | Drop the case | Standards compliant |  |
|  | Appearance | Good |  |
|  | Accessory | Gather |  |
|  | Noise | Normal |  |
|  | The whole structure | Good |  |
|  | Machine performance testing | Qualified | Speaker; Wang Peng ecember 4, 2015 |

Audited: The machine meet the standards, allowed the factory.

Instructions

Single service

| Date | Cause | Maintenance Status | Maintenance staff | Sales tracking people |
| --- | --- | --- | --- | --- |
|  |  |  |  | Ranguang You |

Note: The following conditions are not covered by the warranty:

1, due to the scope of use is not required to cause equipment damage.

2, due to natural disasters (such as: flood, fire, lightning, etc.)

3, the warranty period has expired, the Division bear only service the equipment, and the appropriate fee

4, during the warranty period, the company is not permitted under the circumstances, dismantle those consequences

Instructions

Warranty Card

This warranty card in duplicate, one kept by the customer, with an overall rating for the year by the supplier. Using this card, please fill out the card carefully related content:

| End customer: |  |
| --- | --- |
| Address: |  |
| Phone: |  |
| Inspection date: |  |
| Inspection results: |  |
| Customer comments: |  |
| Engineering Technician: |  |
| RelatedSpecial Instructions： |  |